Environmental Disasters: Computer Networks for Early Warning and Crises Management

Walter Hürster

Abstract

As a result of intuitive considerations, theoretical approaches, practical system tests and related project experience, a proposal is made for the logical structure of networks such as those for monitoring and surveillance, prediction and prognostics, early warning, decision support, warning and information of the public and emergency management. The system requirements are described and it will be shown that the proposed architectural design is suitable for the purpose of environmental monitoring, early warning and hazard management.

As an example for the operational feasibility and the technical implementation of such a system, a remote monitoring and surveillance system for nuclear power plants is described, including prediction and early warning based on a dispersion modelled transport calculation in the case of radioactive releases.

# Introduction

Almost every day TV news reports on disastrous environmental events from somewhere in the world. Earthquakes, volcanic eruptions, hurricanes, heavy thunderstorms, floods and avalanches alternate with tanker collisions, oil spills, coastal pollution, bushfires, accidents in chemical or nuclear plants (related to the emission of toxic gases or radioactive nuclides) and terrorist attacks.

The loss of human life and the tremendous damages caused by those catastrophes as well as the increasing sensitivity of the general public make it reasonable to protect the population and the environment by means of a new generation of intelligent surveillance, information, early warning and emergency management systems.

We are aware that the development and use of those systems is a first step and represents an intermediate stage on the way to a sustainable development where not merely technical concepts but also political, ethical and economic efforts have to be taken into account. This paper, however, is confined to the technical challenge and  feasibility at the present time.

# The requirements

Due to the complexity of this challenge, it is obvious that only a network of computers with dedicated individual tasks and an appropriate communication structure will provide a promising approach to solve the problem. However, defining an adequate logical structure for those networks, a variety of subtasks and prerequisites have to be fulfilled in each case in order to include intelligence in various ways and to reach the goal of  an integrated operational system:

- Development/integration of adequate sensor systems and sensor networks (autonomous or remotely controlled) providing data and background information. This may include mobile sensory platforms and remote sensing systems (air space surveillance and satellite systems).

- Advanced modelling, i.e. development/improvement of scientific prediction models for prognostic calculations of each disaster type supporting interpretation and extrapolation of data, e.g. calculation of the atmospheric dispersion in case of NBC releases, taking into account the current meteorological situation and the expected forecast values

- Integration of scientific prediction modules into operational systems and definition of adequate interfaces to allow for fast response actions even under critical conditions

- Integration of GIS functionality for an online situation display, using various types of geographical maps to facilitate the recognition of affected areas

- Development and implementation of risk analysis and decision support systems based on sensor data, prognostic calculations and disaster specific experience

- Development/improvement and inclusion of knowledge management components (in general and disaster specific) to integrate the long-term experience of experts and observations made in the past

- Definition of adequate information, alarm and warning strategies, using the full range of state-of-the-art technology, such as satellite communications, radio broadcast, TV, telephone (fixed network and mobile systems), siren systems and loudspeakers

- Definition of appropriate interfaces to catastrophe handling and resource management subsystems (transport facilities, shelters, medical care....)

Special care has to be taken for the flow of information and data streams, providing all subsystems with the relevant information within due time, enabling them to fulfill their specific tasks in a rather autonomous way but sharing the results with other subsystems which, in their turn, need it as input.

# The logical structure of the system

The proposed logical structure is shown in Figure 1 in the form of a Local Area Network (LAN), although some components may be linked together physically by means of a Wide Area Network (WAN), depending on the actual needs of the system under construction.

Fig.1: Structure of the System

It is highly recommendable to use a communication server to handle the input data streams from various sensor systems and sensor networks and to convert the different data formats, if necessary. This server may also handle the connection to external information networks. In case of higher system loads or larger systems, a specific server computer may be used for this purpose, e.g. a dedicated Web server.

Since most of the data are usually needed for central access, the concept of a central database has been confirmed by practical experience. The distribution of specific subsets of the data for decentralized use (e.g. remote application servers) can be achieved by means of  dedicated replication functions.

Prediction models and prognostic calculations, such as those for the atmospheric dispersion of toxic gases or radionuclides, tend to need large sets of data and therefore are also best served by a central access. Agent technologies and service accesslayer ontologies have proven to be most suitable for the integration of the various scientific components into an operational system.

Decision support systems, based on the data describing the actual situation as well as the prognostic development, will reflect the implications for the population in the affected areas and thus help the crisis squad to make their decisions. These systems will have to include advanced knowledge management components and sets of metadata providing access to the long-term disaster specific experience of experts and to observations made in the past.

The most prominent feature of  the system will be an online situation display (using GIS technologies) for all types and categories of system users. These users can be connected via application servers (by means of LAN and WAN), as remote clients (laptops), mobile clients (PDA’s) or as Web client, served by a dedicated Web server within the system. This allows for a broad spectrum of system use, ranging from the operational staff over crisis squad and mission control up to the rescue forces on site, including information for and warning of the interested and concerned public.

Connected warning networks will be alerted by an alarm function in accordance with the defined warning strategy, and finally, a dedicated emergency management sub system will communicate with the civil defence networks and provide the mission control systems for search and rescue forces with the necessary data. These data will include

- Digitized plans of protective measures, including their representation on geographical maps

- Evacuation areas/safe areas and their current availability status

- Overview of arterial roads, traffic flow and means of transportation (incl. status information)

- Layout plans for assembly and collecting points in case of collective transports

- Emergency stations for medical care, including hospital trains and hospital ships

- Overview of regular hospitals and medical centres (incl. status and capacity information)

- Layout plans of schools, kindergartens and retirement homes

- Layout plans of emergency sheltering capabilities, such as gymnasiums, roof covered stadiums etc.

- Current geographical location of rescue forces and vehicles

It has proven essential to consider the full process chain and data flow (from the sensor up to the rescue vehicles) right at the beginning of the conceptual phase in order to provide for an adequate operational use of the intended system.

# Technical implementation of a reference system

As an example for the operational feasibility and technical implementation of a system in accordance with the proposed logical structure, a remote monitoring and surveillance system for nuclear power plants (RM/NPP) will be described in this section briefly.

The task of this system is to monitor the operation of the nuclear power plants (Obrigheim KWO, Philippsburg KKP I and II and Neckarwestheim GKN I and II) in the Federal State of Baden-Württemberg, Germany, and of foreign nuclear power plants (Fessenheim, France and Leibstadt, Switzerland) close to the German border.

The actual operational state of the nuclear facilities including their emissions into air and water, together with the radioactive immissions into the environment are automatically recorded. In addition, the RM/NPP system continuously surveys the meteorological data at the sites and also receives data from external measuring networks, thus adding up to a volume of approx. 100,000 measurement data per day.

The RM/NPP system provides numerous possibilities to visualize the data and to check them against threshold values and protection objectives. In the case of a radioactive leak, potentially affected areas can be determined at an early stage by a dispersion modelled transport calculation (DMTC) and protective measures can be adopted by the ministry in cooperation with the authorities responsible for civil defence.

Apart from the results of the DMTC, additional information can be overlayed in form of logically independent layers (as computer generated vector maps) enabling a more accurate assessment of an incident, e.g.

- Wind vector fields for varying heights

- Precipitation fields

- Helicopter flight paths and the results from measuring flights.

- Positions of measuring vehicles and staff on site

The concept, the architectural design and the user interface of this system had to meet extremely high demands. Therefore, and in accordance with the logical structure proposed above, the system was conceived in the form of a client/server architecture with the following components:

- Communication Server (CS)

- Central Database (CDB)

- Application Servers (AS)

- Dispersion Modelled Transport Calculation (DMTC)

- PC based User Interface (Clients)

All important components of the control centre, measuring data recording and networking are organised in a redundant manner. The central data storage is hosted on a computer cluster, which is being additionally provided with an emergency power supply. Standard PCs are used as clients, enabling the RM/NPP data to be accessed and visualised with the assistance of GIS functions (Geographical Information System). The RM/NPP client software provides standardised export interfaces to office and graphical applications. In order to inform the public, the RM/NPP system can also be accessed via WWW browser technology without the RM/NPP client software. The local networks (LAN) installed in the individual locations are connected by routers via redundant wide area networks (WAN).

# Conclusion

A proposal has been made for the logical structure of computer networks for crisis management during environmental disasters and related types of threats. It has been shown that the proposed architectural design is suitable for the purpose of environmental monitoring, early warning and hazard management.

As an example for the operational feasibility and technical implementation of such a system, a remote monitoring and surveillance system for nuclear power plants has been described. The high demands placed on the user interfaces in order to guarantee secure and simple operation of this very complex system were met due to the ergonomic design, consequent use of graphical and geographical visualisation and operating technologies from the GIS environment.

The described remote monitoring system for nuclear power plants enables the supervisory authorities to meet their obligations under atomic legislation in a safe and economical manner. The extended possibilities of evaluating and visualising measured data, together with the complex models for the transport calculations and the visualization of their results and implications support and ease the assessment of an incident by the supervisory authority and the Regional Administrations responsible for civil defence.

Note: The system described above has been in full operation since August 2001 and was contracted to T-Systems GEI GmbH by the Federal State of Baden-Württemberg, Ministry of Environment and Transport, as a turnkey system, with the integrated service “DMTC” provided by the Institut für Kernergetik und Energiesysteme (Institute for Nuclear Energetics and Energy systems) of the University of Stuttgart (IKE). The research work related with the development and integration of the DMTC was supported by the Ministry of Environment and Transport within the framework “Umweltinformationssystem (UIS)“ (Environmental Information System) Baden-Württemberg. The underlying program modules of the DMTC were taken from the library of the OECD Nuclear Energy Agency.

# Bibliography

Bieber, K. (1999): Die technische Realisierung der neuen Kernreaktor-Fernüberwachung Baden-Württemberg, in: Dade C., Schulz B. (Hrsg.): Management von Umweltinformationen in vernetzten Umgebungen, Nürnberg 1999, Metropolis Verlag, Marburg

Hürster, W., Hetzel, M. (1997): GIS in modernen Gefahrenüberwachungssystemen, in: Geo-Informationssysteme, Heft 5/1997, S. 21-24

Klahn, B., Bieber, K. (1998): Eine moderne Benutzeroberfläche für ein System zur Kernreaktor-Fernüberwachung, in: Riekert W.F, Tochtermann K. (Hrsg.): Hypermedia im Umweltschutz, 1.Workshop, Ulm 1998, Metropolis Verlag, Marburg

Mayer-Föll, R. (et al.) (1998): Umweltinformationssystem Baden-Württemberg, als Teil des Landessystemkonzepts, Rahmenkonzeption 1998, RK UIS 98, Stuttgart

Radermacher, F.J. (1999): Globalisierung, Informationsgesellschaft und nachhaltige Entwicklung - Hinweise zu einem Politikprogramm aus europäischer Sicht, in: Ulmensien, Band 13 „Globalisierung und soziale Marktwirtschaft“, S. 31-53, Ulm 1999, Universitätsverlag Ulm

Schmidt, F., Kopetzky , R., Grohmann, A., Obrecht , R. (2001): Entwicklung einer Ontologie für die Einbindung von Simulationsdiensten in die Kernreaktor-Fernüberwachung (KFÜ) Baden-Württemberg, 4. GI-Workshop „Hypermedia im Umweltschutz“ , Ulm, Mai 2001

Weigele, M. (1997): Berechnung der nassen Deposition von Spurenstoffen im Rahmen des Notfallschutzes, Dissertation Universität Stuttgart, IKE-Bericht Nr. 4-146 1997

# Footnotes

T-Systems, Business Unit Ulm, Magirusstrasse 39/1, D-89077 Ulm, Germany. Tel. +49 731 9344-4040, Fax + 49 731 9344-4009; email: Walter.Huerster@t-systems.com